## Slide 1: Real-time Anomaly Detection for Building Sensors Urban Data Lab Capstone Project Status Presentation
Data 599 Mitch Harris, Ryan Koenig, Nathan Smith June 1, 2021

## Slide 2: MDS Project Team
Nathan Smith
Mitch Harris
Ryan Koenig

## Slide 3: Outline
Project Background
Current Progress
Challenges To-Date
Next Steps

## Slide 4: Project Background
Urban Data Lab
Project Description
Project Approach

## Slide 5: Urban Data Lab (UDL) Project Background
Advance data access, data management and data analytics capabilities on UBC campus.
Provides open access of UBC sustainability data to researchers, policymakers and operational staff.
Supports the monitoring and measurement of sustainability performance for buildings, transportation, and natural assets.

## Slide 6: Description Project Background
UDL have noticed inconsistent/erroneous data – no system in place to identify this
UDL are interested in deployment of an anomaly detection system capable of notifying users of unusual behavior

## Slide 7: Approach Project Background
Select a subset of data to use for the study
Select a real-time detection framework
Research anomaly detection models
Build a pipeline for the anomaly detection model
Model evaluation and tuning
Implement the model/framework
Build a dashboard/notification system

## Slide 8: Current Progress
Select a subset of data to use for the study
Select a real-time detection framework
Research anomaly detection models
Build a pipeline for the anomaly detection model
Continued model evaluation and tuning
Implement the model/framework
Build a dashboard/notification system

## Slide 9: Subset of Data Current Progress
Campus Energy Center (CEC) Boiler Data
70+ sensors
Temperature, Pressure, Flow, Gas
Varying resolution (1 min – 15 min)
~2-4 years available

## Slide 10: Subset of Data Current Progress
High variation in sensor patterns and anomalies types

## Slide 11: Real-time Detection Framework Current Progress
Anomaly detection model are trained and parameters stored
Anomaly detector only reads latest points and uses stored parameters
Raw
Parsed
Detected
Train Parameters
Model Parameters Stored
Continuous Read/Detect/Write
Run Weekly/Monthly to Update Model

## Slide 12: Anomaly Detection Model Current Progress
LSTM Encoder-Decoder Model Selected
Identified as a successful model on IoT sensors
Able to run in an unsupervised approach
Flexible model to handle different sensor types
Has tunable parameters

## Slide 13: Anomaly Detection Model Current Progress
Two Model Setups Considered
X-2
X-1
X0
X-2’
X-1’
X0’
X-2
X-1
X0
X1’
Next Point Prediction
(Many-to-One)
Sequence Reconstruction
(Many-to-Many, Seq2Seq)

## Slide 14: Build Model Pipeline Current Progress
Notes: Training completed weekly/monthly
Predict on ongoing basis
Trains on normal data
Allows operational adjustment
Allows new sensor to use a similar sensor trained model to start detection

## Slide 15: Build Model Pipeline Current Progress
Data Preparation
  Sensors individual or grouped
  Data standardized
Anomaly Screen/Filter
  Any data already labelled anomalous is removed from training
LSTM-ED
  2-layers stacked LSTM encoder-decoder for initial model
  Modify as required (such as using a sliding window)
Tuning
  Changing the threshold of labelling an anomaly

## Slide 16: Current Model Results Current Progress
Sequence Reconstruction
Predicting Next Point
Notes: Training completed weekly/monthly
Predict on ongoing basis
Trains on normal data
Allows operational adjustment
Allows new sensor to use a similar sensor trained model to start detection

## Slide 17: Current Model Results Current Progress
Identifies manually labelled anomalous events quite well
Needs tuning to avoid incorrect flagging
Notes: Training completed weekly/monthly
Predict on ongoing basis
Trains on normal data
Allows operational adjustment
Allows new sensor to use a similar sensor trained model to start detection

## Slide 18: Challenges To-Date
Data Access
Anomaly Labelling
Technology

## Slide 19: Data Access Challenges
Historical or streaming data not currently available in InfluxDB
Support on parsing data using Telegraf
Manually downloading data

## Slide 20: Anomaly Labelling Challenges
What is an anomaly?
Built an interactive app to support this
Still time intensive
Labelling is subjective
How to evaluate results?

## Slide 21: Technology Challenges
A lot of tech to learn/explore in a short period

## Slide 22: Next Steps
Select a subset of data to use for the study
Select a real-time detection framework
Research anomaly detection models
Build a pipeline for the anomaly detection model
Continued model evaluation and tuning
Implement the model/framework
Build a dashboard/notification system

## Slide 23: Model Evaluation and Tuning Next Steps
Determine best default model parameters (window size)
Which method to use (point predict or sequence reconstruct)
Determine method for auto-threshold identification
Evaluate additional sensors
Notes: Training completed weekly/monthly
Predict on ongoing basis
Trains on normal data
Allows operational adjustment
Allows new sensor to use a similar sensor trained model to start detection

## Slide 24: Implement Model Next Steps
Put the model into the real-time detection framework
Raw
Parsed
Detected
Train Parameters
Model Parameters Stored
Continuous Read/Detect/Write
Run Weekly/Monthly to Update Model

## Slide 25: Dashboard/Notification System Next Steps
Likely built directly into InfluxDB, move to Grafana if required

## Slide 26: Q&A
Mitch Harris
Ryan Koenig
Nathan Smith