## Slide 1: Real-time Anomaly Detection for Smart Building Sensors Urban Data Lab Capstone Project Status Presentation
Data 599 Mitch Harris, Ryan Koenig, Nathan Smith June 1, 2021

## Slide 2: Outline
Project Background
Current Progress
Challenges To-Date
Next Steps

## Slide 3: Project Background
Urban Data Lab
Project Description
Project Approach

## Slide 4: Urban Data Lab (UDL) Project Background
Advance data access, data management and data analytics capabilities on UBC campus.
Provides open access of UBC sustainability data to researchers, policymakers and operational staff.
Supports the monitoring and measurement of sustainability performance for buildings, transportation, and natural assets.

## Slide 5: Description Project Background
UDL have noticed inconsistent/erroneous data – no system in place to identify this
UDL are interested in deployment of an anomaly detection system capable of notifying users of unusual behavior

## Slide 6: Approach Project Background
Select a subset of data to use for the study
Select a real-time detection framework
Research anomaly detection models
Build a pipeline for the anomaly detection model
Implement the model/framework
Build a dashboard/notification system

## Slide 7: Current Progress
Select a subset of data to use for the study
Select a real-time detection framework
Research anomaly detection models
Build a pipeline for the anomaly detection model
Implement the model/framework
Build a dashboard/notification system

## Slide 8: Subset of Data Current Progress
Campus Energy Center (CEC) Boiler Data
50+ sensors
Temperature, Pressure, Flow, Gas
Varying resolution (1 min – 15 min)
~2-4 years available

## Slide 9: Subset of Data Current Progress
High variation in sensor patterns and anomalies types

## Slide 10: Real-time Detection Framework Current Progress
Anomaly detection model are trained and parameters stored
Anomaly detector only reads latest points and uses stored parameters
Raw
Parsed
Detected
Train Parameters
Model Parameters Stored
Continuous Read/Detect/Write
Run Daily/Weekly to Update Model

## Slide 11: Anomaly Detection Model Current Progress
LSTM Model Selected
Identified as a successful model on IoT sensors
Able to run in an unsupervised approach
Flexible model to handle different sensor types
Has tunable parameters

## Slide 12: Build Model Pipeline Current Progress
Notes: Training completed weekly/monthly
Predict on ongoing basis
Trains on normal data
Allows operational adjustment
Allows new sensor to use a similar sensor trained model to start detection

## Slide 13: Build Model Pipeline Current Progress
Data Preparation
  Sensors grouped
  Data standardized
Anomaly Screen/Filter
  Trains on normal data only – any data already labelled anomalous is removed from training
  Labelling anomalies to initially train the model will be done manually
LSTM-AD
  2-layers Stacked LSTM for initial model
  Modify as required (such as using a sliding window)
Tuning
  Changing the threshold of labelling an anomaly for preferred results or changing the period a sensor is trained on

## Slide 14: Build Model Pipeline Current Progress
Notes: Training completed weekly/monthly
Predict on ongoing basis
Trains on normal data
Allows operational adjustment
Allows new sensor to use a similar sensor trained model to start detection

## Slide 15: Challenges To-Date
Data Access
Anomaly Labelling
Technology

## Slide 16: Data Access Challenges
Historical or streaming data not currently available in InfluxDB
Support on parsing data using Telegraf
Manually downloading data

## Slide 17: Anomaly Labelling Challenges
What is an anomaly?
Labelling is subjective
Built an interactive app to support this
Still time intensive
How to evaluate results?

## Slide 18: Technology Challenges
A lot of tech to learn/explore in a short period
InfluxDB
Telegraf
Grafana
Docker
Keras
Flask

## Slide 19: Next Steps
Select a subset of data to use for the study
Select a real-time detection framework
Research anomaly detection models
Build a pipeline for the anomaly detection model
Implement the model/framework
Build a dashboard/notification system

## Slide 20: Implement Model Next Steps
Put the model into the real-time detection framework
Raw
Parsed
Detected
Train Parameters
Model Parameters Stored
Continuous Read/Detect/Write
Run Daily/Weekly to Update Model

## Slide 21: Dashboard/Notification System Next Steps
Likely built directly into InfluxDB
Potentially move to Grafana if required

## Slide 22: Q&A
Mitch Harris
Ryan Koenig
Nathan Smith
Photo by Markus Spiske on Unsplash